## Instructions
IMPORTANT NOTE: Before using this model, read the accompanying note available on the SEforALL website. This will help explain the source of all underlying assumptions used in this model.
HOW TO USE THIS MODEL
1 | Inputs in to the model can be made in the Inputs tab, the Kerosene Emissions tab & Diesel genset Emissions tab
| xy | require user to select one option from the drop-down list
| xy | require user to enter values relevant for the mini-grid(s), if needed
| xy | should ONLY be changed if the user has values that are more applicable to their mini-grid(s) or country(ies)
2 | Any figures under the Emissions factor section in the Inputs tab that are not shaded are calculated figures so should be changed either the "Kerosene emissions" or "Diesel genset emissions" tabs
3 | Emissions Calculations - This is the tab where all the back-end calculations based on the input tabs are completed and feeds into the "Dashboard" tab
Contact rbf@seforall.org with any questions or recommended improvements
MODEL RESULT
Purpose
SEforALL developed the mini-grid emissions tool to help the sector better estimate emissions avoided by taking into consideration:
· different previous energy sources to calculate the baseline emissions
· energy consumed by the mini-grid customers
· different mini-grid generating sources including hybrid mini-grids
A harmonized and detailed approach to estimating the carbon emissions avoided by renewable energy mini-grids enables mini-grid developers, governments, investors, multi-lateral organizations and other sector stakeholders to better quantify the climatic benefits of mini-grids in a consistent manner and report on the sector’s contribution to climate change mitigation.
Dashboard
This tab summarises all the inputs and outputs of the model and can be exported to PDF as a report

## Dashboard
Country/Region | Benin
BASELINE ENERGY SOURCES & EMISSIONS
Baseline energy sources | Energy service | Technologies | % using technology
Tier 1 Households | Lighting | Kerosene lamps - general | -
|  | Petrol generator | -
|  | Solar PV | -
| Non-lighting | Petrol generator | -
|  | Diesel generator (previous source) | -
|  | Solar PV | -
HHs with >Tier 2 or businesses or prodcutive use | All loads | Petrol generator | 100%
|  | - | -
|  | - | -
|  | - | -
|  | - | -
Baseline emissions
Tier 1 Households | Lighting - HHs | 0 | tons CO2e
Tier 1 Households | Non-lighting - HHs | 0 | tons CO2e
| Total | 0 | tons CO2e
HHs with >Tier 2 or businesses or prodcutive use | All loads | 27948.0409 | tons CO2e
Total baseline emissions |  | 27948.0409 | tons CO2e
MINI-GRID GENERATION SOURCES & EMISSIONS
Connections
Max. # of connections - all |  | 10000 | connections
Max. # of connections - Tier 2 households |  | 6000 | connections
Max. # of connections - Tier 3 households, businesses & other prod. Use |  | 4000 | connections
Consumption
Consumption - all connections over lifespan |  | 45569563.0424 | kWh
Consumption - Tier 2 households over lifespan | Tier 2 households | 13670868.9127 | kWh
Consumption - Tier 3 households, businesses & other prod. use over lifespan | Tier 3 households, businesses & other prod. use | 31898694.1297 | kWh
Generating technology
Primary Generating Technology | Solar PV | 60%
Back-up Generating Technology | Diesel generator (mini-grid) | 40%
Mini-grid Emissions
Total emissions over mini-grid lifespan |  | 14582.2602 | Tons CO2e
OUTPUTS
Total baseline emissions |  | 27948.0409 | Tons CO2e
Emissions avoided over mini-grid lifespan |  | 13365.7807 | Tons CO2e
Mini-grid emissions |  | 14582.2602 | Tons CO2e
Average emisions avoided per annum |  | 668
This chart isn't available in your version of Excel.
Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Lists (hidden)
Technology | Country/region | Previous Lighting technology | Generating technology
Mini-grids | Sub-Saharan Africa |  | Solar PV
| Eastern Africa | Kerosene lamps - general | Diesel generator (mini-grid)
| West Africa | Kerosene lamps - single wick lamp
| Central Africa | Kerosene lamps - huricane lamp
| Southern Africa | Kerosene lamps - pressure lamp
| Angola | Candles
| Benin | Rechargeable battery torches
| Botswana | Solar PV
| Burkina Faso | Petrol generator
| Burundi | Diesel generator (previous source)
| Cabo Verde | Main grid
Cameroon
Central African Republic
Chad
Congo
Comoros
Cote d'Ivoire
Democratic Republic of Congo (D.R.C)
Djibouti
Eritrea
Ethiopia
Gabon
Gambia
Ghana
Guinea
Guinea-Bissau
Kenya
Lesotho
Liberia
Madagascar
Malawi
Mali
Mauritania
Mauritius
Mayotte
Mozambique
Namibia
Niger
Nigeria
Réunion
Rwanda
Saint Helena
Senegal
Seychelles
Sierra Leone
Somalia
South Africa
South Sudan
United Republic of Tanzania
Togo
Uganda
Zambia
Zimbabwe

## Inputs
MINI-GRID INPUTS |  |  | BASELINE ASSUMPTIONS
Solution | Mini-grids
Country/Region | Benin |  | Previous Energy Sources
|  |  | Households that had Tier 1 access |  |  |  | Households that had >Tier 2 access or businesses or productive use or public connections
Funds disbursed to mini-grid developer or total CAPEX+OPEX | 10000000 | USD | Energy service | Previous energy supply technology | Percentage of consumers used that energy supply technology |  | Energy service | Previous energy supply technology | Percentage of consumers used that energy supply technology
Number of mini-grid connections | 10000 | connections | Lighting tech 1 | Kerosene lamps - general |  |  | All loads tech 1 | Petrol generator | 100%
Number of Tier 2 household connections | 6000 | connections | Lighting tech 2 | Petrol generator |  |  | All loads tech 2
Number of Tier 3 or business or productive use or public connections | 4000 | connections | Lighting tech 3 | Solar PV |  |  | All loads tech 3
Percentage of Tier 2 HHs connected to MG | 60% |  | Non-lighting (phone charging, appliances etc.) - tech 1 | Petrol generator |  |  | All loads tech 4
Percentage of connections that are Tier 3 HHs/businesses or productive use | 40% |  | Non-lighting (phone charging, appliances etc.) - tech 2 | Diesel generator (previous source) |  |  | All loads tech 5
Growth in connections per annum | 0% |  | Non-lighting (phone charging, appliances etc.) - tech 3 | Solar PV |  |  | Baseline consumption as a % of consumption on mini-grid |  | 70%
Initial average monthly consumption/consumer - all consumers | 10 | kWh/month |  | CHECK | MAKE SURE CELLS J6 TO J8 ADD UP TO 100% |  |  | CHECK | OK
Maximum average monthly consumption (Plateau) - all consumers | 20 | kWh/month |  | CHECK | MAKE SURE CELLS J9 TO J11 ADD UP TO 100%
Initial average monthly consumption/Tier 2 household | 5 | kWh/month | Previous Energy Sources Emissions Factors
Maximum monthly consumption/Tier 2 household (plateau) | 10 | kWh/month | Previous technology | Emission factor | Metric
Time period to get to plateau | 5 | years | Kerosene lamps - general | 213.5088 | kg CO2e/annum/household | See kerosene emissions tab and accompanying cover note
Mini grid lifespan | 20 | years | Kerosene lamps - single wick lamp | 439.2965 | kg CO2e/annum/household
|  |  | Kerosene lamps - hurricane lamp | 38.9965 | kg CO2e/annum/household
Mini-grid Generation Sources |  |  | Kerosene lamps - pressure lamp | 24.2725 | kg CO2e/annum/household
| Generating technology | Percentage of total energy supplied by technology | Candles | 7.0263 | kg CO2e/annum/household | See accompanying cover note
Primary Generating Technology | Solar PV | 60% | Rechargeable battery torches |  | kg CO2e/annum/household
Back-up Generating Technology | Diesel generator (mini-grid) | 40% | Solar PV | 0 | kg CO2/kWh
CHECK | OK |  | Petrol generator | 1.2516 | kg CO2/kWh | See accompanying cover note
|  |  | Diesel generator (previous source) | 1 | kg CO2/kWh
Mini-grid Generation Sources Emissions Factors |  |  | Main grid |  | kg CO2/kWh
Diesel generator (mini-grid) | 0.8 | kg CO2/kWh
Solar PV (mini-grid) | 0 | kg CO2/kWh

## Emissions calculations
|  | a in log curve | c in log curve
| Consumption - all | 6.2133 | 10
| Consumption -HHs | 3.1067 | 5
Log curve | a*log (year)+c
Months in a year | 12
|  |  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Connections
Total connections |  | 10000 |  | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Number of Tier 2 household connections |  | 6000 |  | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000
Number of Tier 3 or business or productive use or public connections |  | 4000 |  | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000
Consumption - Mini-grid
Average consumption/connection/month | kWh/connection/month |  |  | 10 | 14.3068 | 16.8261 | 18.6135 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Total annual consumption - all connections | kWh/year - All | 45569563.0424 |  | 1200000 | 1716811.8697 | 2019127.4334 | 2233623.7394 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000 | 2400000
Estimated average consumption/household/month | kWh/household/month | 189.8732 |  | 5 | 7.1534 | 8.413 | 9.3068 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Estimated household consumption - Tier 2 HHs | kWh/year - HHs | 13670868.9127 |  | 360000 | 515043.5609 | 605738.23 | 670087.1218 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000 | 720000
Percentage of total consumption that's Tier 2 HHs |  |  |  | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30%
Estimated Tier 3 HHs/businesses/productive use consumption | kWh/year - businesses/prod. use | 31898694.1297 |  | 840000 | 1201768.3088 | 1413389.2034 | 1563536.6176 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000 | 1680000
Baseline emissions
Tier 1 Households
Lighting tech 1 | Kerosene lamps - general | 0
Lighting tech 2 | Petrol generator | 0
Lighting tech 3 | Solar PV | 0
| Weighted lighting emissions factor - previous sources | 0 | kg CO2e/annum/household
| Baseline lighting consumption per household | 52.56 | kWh/annum/household
| Baseline lighting consumption all households |  | kWh/annum | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360 | 315360
Total baseline CO2e emissions - Lighting (Households) |  | 0 | tonnes CO2e | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-lighting (phone charging, appliances etc.) - tech 1 | Petrol generator | 0 | kg CO2/kWh
Non-lighting (phone charging, appliances etc.) - tech 2 | Diesel generator (previous source) | 0 | kg CO2/kWh
Non-lighting (phone charging, appliances etc.) - tech 3 | Solar PV | 0 | kg CO2/kWh
| Weighted emissions factor - non-lighting | 0 | kg CO2/kWh
| Baseline consumption - non-lighting loads per household | 5.83 | kWh/annum/household
| Baseline non-lighting consumption all households | 699600 | kWh | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980 | 34980
Total baseline CO2e emissions - Non-lighting loads (Households) |  | 0 | Tonnes CO2e | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total baseline emissions - Households |  | 0 | Tonnes CO2e | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HHs with >Tier 2 access or businesses or productive use
All loads tech 1 | Petrol generator | 1.2516 | kg CO2/kWh
All loads tech 2 | 0 | 0 | kg CO2/kWh
All loads tech 3 | 0 | 0 | kg CO2/kWh
All loads tech 4 | 0 | 0 | kg CO2/kWh
All loads tech 5 | 0 | 0 | kg CO2/kWh
| Weighted HHs with >Tier 2 access or businesses or productive use emissions factor - previous sources | 1.2516 | kg CO2/kWh
| Baseline consumption - HHs with >Tier 2 access or businesses or productive use |  | kWh/annum | 588000 | 841237.8161 | 989372.4424 | 1094475.6323 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000 | 1176000
Total baseline CO2e emissions - Businesses/productive use |  | 27948.0409 | Tonnes CO2e | 735.966 | 1052.9293 | 1238.341 | 1369.8926 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932
TOTAL BASELINE EMISSIONS |  | 27948.0409 | Tonnes CO2e | 735.966 | 1052.9293 | 1238.341 | 1369.8926 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932 | 1471.932
Mini-grid emissions
Primary Generating Technology | Solar PV | 0
Back-up Generating Technology | Diesel generator (mini-grid) | 0.32 | kg CO2/kWh
| Weighted emissions factor -mini-grid | 0.32 | kg CO2/kWh
TOTAL MINI-GRID EMISSIONS |  | 14582.2602 | Tonnes CO2e | 384 | 549.3798 | 646.1208 | 714.7596 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768 | 768
TOTAL ANNUAL EMISSIONS AVOIDED OVER MINI-GRID LIFESPAN (MT CO2e) |  | 13365.7807 | Tonnes CO2e | 351.966 | 503.5495 | 592.2202 | 655.133 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932 | 703.932
AVERAGE EMISSIONS AVOIDED PER ANNUM |  | 668 | Tonnes CO2e | 1: 668Tonnes CO2e
Average emissions per kWh of mini-grid electricity consumed |  | 0.2933 | kg/kWh
EMISSIONS AVOIDED PER CONNECTION | Over lifespan | 1.3366 | Tonnes CO2e
| Per annum | 0.0668 | Tonnes CO2e/annum
CO2 avoided per USD |  | 1.3366 | kg CO2e/USD
Cost of each kg of CO2 avoided |  | 748.1793 | USD/Tonne CO2e
|  | 0.74818 | USD/kg CO2e

## Kerosene emissions inputs
Lamp type | Burn rate (liters/hr) | Utilisation (hrs/day) | Dynamic Baseline Factor | Fuel emissions factor - Carbon Dioxide (kg CO2/liter) | Fuel emissions factor - Black Carbon (kg CO2equivalent/liter) | CO2 emissions/yr | Black Carbon CO2e emissions/yr | Total Emissions/yr | Kerosene-general mix of technologies & emissions
Hurricane lamp | 0.021 | 3.5 | 1 | 2.5 | 1.134 | 67.0687 | 30.4224 | 97.4911 | 11% | Pressurised Lamps
Pressure lamp | 0.019 | 3.5 | 1 | 2.5 | 0 | 60.6812 | 0 | 60.6812 | 45% | Hurricane Lamps
Single wick lamp | 0.018 | 3.5 | 1 | 2.4 | 45.36 | 55.188 | 1043.0532 | 1098.2412 | 44% | Single Wick Lamps
[9 empty] | Weighted Annual CO2e emissions/yr | 533.7721 | kg/yr
Emissions from previous kerosene sources = Burn Rate x (Utilisation x Fuel emissions factor (CO2) x 365 (days/yr)) + Burn Rate x (Utilisation x Fuel emissions factor (BC) x 365 (days/yr))X Dynamic Baseline Factor (change in fuel use year-on-year)
Region/Country | Lamp replacement ratio
Eastern Africa | 1.1
West Africa | 0.4
South Asia | 0.3
Rest of the World | 0.4
Central Africa | 0.4
Southern Africa | 0.4
Sub-Saharan Africa | 0.75
Burundi | 1.1
Comoros | 1.1
Djibouti | 1.1
Eritrea | 1.1
Ethiopia | 1.1
Kenya | 1.1
Madagascar | 1.1
Malawi | 1.1
Mauritius | 1.1
Mayotte | 1.1
Mozambique | 1.1
Réunion | 1.1
Rwanda | 1.1
Seychelles | 1.1
Somalia | 1.1
South Sudan | 1.1
Uganda | 1.1
United Republic of Tanzania | 1.1
Zambia | 1.1
Zimbabwe | 1.1
Benin | 0.4
Burkina Faso | 0.4
Cabo Verde | 0.4
Cote d'Ivoire | 0.4
Gambia | 0.4
Ghana | 0.4
Guinea | 0.4
Guinea-Bissau | 0.4
Liberia | 0.4
Mali | 0.4
Mauritania | 0.4
Niger | 0.4
Nigeria | 0.4
Saint Helena | 0.4
Senegal | 0.4
Sierra Leone | 0.4
Togo | 0.4
Angola | 0.4
Botswana | 0.4
Cameroon | 0.4
Central African Republic | 0.4
Chad | 0.4
Congo | 0.4
Democratic Republic of Congo (D.R.C) | 0.4
Gabon | 0.4
Lesotho | 0.4
Namibia | 0.4
South Africa | 0.4

## Diesel genset emissions inputs
NOTE: | Update the diesel generator emissions factor for the region/country if better data is available
Region/Country
Eastern Africa | 1
West Africa | 1
South Asia | 1
Rest of the World | 1
Central Africa | 1
Southern Africa | 1
Sub-Saharan Africa | 1
Burundi | 1
Comoros | 1
Djibouti | 1
Eritrea | 1
Ethiopia | 1
Kenya | 1
Madagascar | 1
Malawi | 1
Mauritius | 1
Mayotte | 1
Mozambique | 1
Réunion | 1
Rwanda | 1
Seychelles | 1
Somalia | 1
South Sudan | 1
Uganda | 1
United Republic of Tanzania | 1
Zambia | 1
Zimbabwe | 1
Benin | 1
Burkina Faso | 1
Cabo Verde | 1
Cote d'Ivoire | 1
Gambia | 1
Ghana | 1
Guinea | 1
Guinea-Bissau | 1
Liberia | 1
Mali | 1
Mauritania | 1
Niger | 1
Nigeria | 1
Saint Helena | 1
Senegal | 1
Sierra Leone | 1
Togo | 1
Angola | 1
Botswana | 1
Cameroon | 1
Central African Republic | 1
Chad | 1
Congo | 1
Democratic Republic of Congo (D.R.C) | 1
Gabon | 1
Lesotho | 1
Namibia | 1
South Africa | 1

## Household consumption
Household consumption - original energy services for HHs (Tier 1) |  |  | Household consumption - upgraded energy services (Tier 2)
Typical load | kWh/annum |  | Typical load | kWh/annum
Lighting | 52.56 | 2 9W LED lamps run for 4 hours a day every day | Lighting | 52.56 | 2 9W LED lamps run for 4 hours a day every day
Mobile phone charging | 3.64 | 2 mobile phones per household,each mobile phone charge requires 0.01 kWh & that each phone is charged every other day so total 182 times per annum | Mobile phone charging | 3.64 | 2 mobile phones per household,each mobile phone charge requires 0.01 kWh & that each phone is charged every other day so total 182 times per annum
Radio | 2.19 | 1 10W radio powered fro 6 hours a day, every day | Radio | 2.19 | 1 10W radio powered fro 6 hours a day, every day
|  |  | TV or other small appliance | 65.7 | Average power sourced from verasol data of TVs procured from (mostly) SSA
TOTAL annual consumption per household | 58.39 | kWh | TOTAL annual consumption per household | 124.09
Average daily consumption | 159.9726 | Wh | Average daily consumption | 339.9726 | Wh